## Cover
Italian Electricity Ancillary-Services Markets Reference Workbook for the BESS PPO vs MILP Benchmark Study
Author | Lorenzo Giannuzzo
Affiliation | Energy Center Lab, DENERG, Politecnico di Torino
Supervisor | Prof. Andrea Lanzini
Build date | 2026-05-22
Version | 1.0
Purpose | Calibrate the BESS PPO vs MILP comparison code (flexibility_market.py, italian_market_config.py) on values supported by published 2024-2025 sources, and provide a citable reference table for the paper's Materials & Methods.
Scope | Italian electricity market under the TIDE regulatory framework (ARERA 345/2023), in transition between 2025-01-01 and 2026-02-01.
Disclaimer | Prices and probabilities reflect benchmarks observed in 2022-2024. Italian PICASSO participation was suspended March 2024 after anomalous price events; values labeled 'pre-suspension' refer to Jul-2023 to Feb-2024. Use ENTSO-E TP and Terna Download Center for run-specific historical series.
Sheet index
Sheet | Content
Cover | This page
European Markets | FCR / aFRR / mFRR full specification (tech, prices, platforms, sources)
Italian-Specific | Fast Reserve, UVAM, MACSE, Capacity Market
Calibrated Coefficients | Values to be hard-coded into flexibility_market.py and italian_market_config.py
Sources & Citations | Bibliography with URLs, ready to be exported to BibTeX
Old vs New Calibration | Documentation of the change from synthetic to calibrated values

## European Markets
Harmonized European Ancillary Services - Italian Implementation
Characteristic | FCR | aFRR | mFRR
Function | Primary reserve: immediate containment of frequency deviation | Secondary reserve: restoration of frequency to nominal 50 Hz | Tertiary reserve: replaces aFRR in extended activations
Activation time | Full activation within 30 seconds | Full activation within 5 minutes (target reduced to 5 min under PICASSO by Dec 2024) | Full activation within 12.5 minutes (15 min under MARI)
Direction | Symmetric (both up and down) | Separately bid up and down | Separately bid up and down
Service duration | Continuous during activation events | Continuous until mFRR takes over | Until Replacement Reserve (RR) or balancing market takes over
European platform | FCR Cooperation (no centralized clearing for Italy yet) | PICASSO (Italy joined 19-Jul-2023, suspended Mar-2024, reintegration ongoing under ACER 2024 decisions) | MARI (Italy connection approved by Delibera ARERA 423/2025)
Auction mechanism | Italy: historically mandatory and non-remunerated for conventional units >=10 MW; market-based FCR planned via TIDE roadmap, full implementation by 2029 | Pay-as-cleared (EUR/MWh), 15-min resolution, separate up/down merit orders | Pay-as-cleared (EUR/MWh), 15-min resolution, separate up/down merit orders
Minimum bid capacity (MW) | 1.0 | 1.0 (aggregable via UVAM down to smaller units) | 1.0 (aggregable via UVAM down to smaller units)
Capacity payment (EUR/MW/h) | ~50 (European FCR Cooperation average 2024); Italy TBD post-TIDE | ~25 (Italian benchmark 2022-2024 pre/post PICASSO) | ~12 (Italian benchmark; lower than aFRR due to relaxed response requirement)
Energy payment (EUR/MWh) - activation | Generally bundled in capacity remuneration (no separate activation payment) | Volume-weighted 2022 Italy upward: 411.99 EUR/MWh; downward similar; spikes 10-15k EUR/MWh in 2024 | Range similar to aFRR but lower volatility; benchmark ~150-200 EUR/MWh
Typical activation probability | Continuous low-volume; significant activation ~10-15% of hours | ~25-30% of hours show significant aFRR activation | ~15-20% of hours show significant mFRR activation
Pricing rule | Pay-as-cleared in FCR Cooperation; Italy in transition | Pay-as-cleared (PICASSO) | Pay-as-cleared (MARI)
Settlement period | Continuous (hourly capacity) | 15 minutes (post-TIDE) | 15 minutes (MARI)
Notable issues | Italian market-based FCR not yet operational; transition obligations under Codice di Trasmissione | Anomalous negative imbalance prices Feb 2024 (peak -8,952.7 EUR/MWh on 04-Feb-2024) caused suspension; ACER decision Jul 2024 modified activation function and price limits | Italy still using domestic MB platform pending MARI integration
Historical data source | Terna 'Report on Balancing' annual reports; ENTSO-E TP | ENTSO-E Transparency Platform, section 'Balancing/aFRR'; Terna Download Center MSD ex-ante/ex-post | ENTSO-E TP; Terna Download Center
Regulatory reference | TIDE (Delibera ARERA 345/2023/R/eel); Codice di Trasmissione | TIDE; Delibera ARERA 423/2025 for MARI/PICASSO integration | TIDE; Delibera ARERA 423/2025
Hover any value cell to see its specific source citation in a comment. All capacity/energy prices are benchmarks; for paper submission, replace with ENTSO-E TP or Terna historical series for the chosen reference year.
Note on B5: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on B8: Source: ENTSO-E PICASSO project documentation; Synertics 2024 review
Note on B9: Source: Terna 'Allegato A.83 - Meccanismo di approvvigionamento FCR', download.terna.it
Note on B10: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on B11: Source: Magnus Energy 'Developments in balancing and capacity markets', Nov 2025
Note on B12: Source: ACER CHEST database, volume-weighted aFRR prices 2022
Note on B13: Source: Terna 'Report on Balancing 2022-2023', download.terna.it
Note on B14: Source: ENTSO-E PICASSO project documentation; Synertics 2024 review
Note on B15: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on B16: Source: Montel 'PICASSO and Its Problems: Italian Imbalance Issues', Mar 2024
Note on B18: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on C5: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on C8: Source: ENTSO-E PICASSO project documentation; Synertics 2024 review
Note on C9: Source: Terna 'Allegato A.83 - Meccanismo di approvvigionamento FCR', download.terna.it
Note on C10: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on C11: Source: Magnus Energy 'Developments in balancing and capacity markets', Nov 2025
Note on C12: Source: ACER CHEST database, volume-weighted aFRR prices 2022
Note on C13: Source: Terna 'Report on Balancing 2022-2023', download.terna.it
Note on C14: Source: ENTSO-E PICASSO project documentation; Synertics 2024 review
Note on C15: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on C16: Source: Montel 'PICASSO and Its Problems: Italian Imbalance Issues', Mar 2024
Note on C18: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on D5: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on D8: Source: ENTSO-E PICASSO project documentation; Synertics 2024 review
Note on D9: Source: Terna 'Allegato A.83 - Meccanismo di approvvigionamento FCR', download.terna.it
Note on D10: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on D11: Source: Magnus Energy 'Developments in balancing and capacity markets', Nov 2025
Note on D12: Source: ACER CHEST database, volume-weighted aFRR prices 2022
Note on D13: Source: Terna 'Report on Balancing 2022-2023', download.terna.it
Note on D14: Source: ENTSO-E PICASSO project documentation; Synertics 2024 review
Note on D15: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on D16: Source: Montel 'PICASSO and Its Problems: Italian Imbalance Issues', Mar 2024
Note on D18: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023

## Italian-Specific
Italian-Specific BESS Remuneration Mechanisms (not covered by EU harmonization)
Characteristic | Fast Reserve | UVAM | MACSE | Capacity Market
Service object | Sub-FCR ultra-fast frequency response (FFR) for synthetic inertia | Aggregation of distributed mixed assets (generation, consumption, storage) bidding into MSD | Dedicated electrical storage capacity, BESS and pumped hydro, for renewable load-shifting and ancillary services | Generation/storage capacity guaranteed to be available during system stress events
Response time | < 1 second (Fast Frequency Response) | Depends on underlying service (aFRR, mFRR) | Hourly time-shifting via MGP; capacity contractually available | N/A (capacity-only product; activation via MSD/MB in stress events)
Contract duration | 5 years (2020 pilot auction) | Annual, renewable | 15 years | 15 years (start ~2024, multiple delivery years)
Auction mechanism | Pay-as-bid, single competitive auction Terna 2020 | Continuous qualification, participation via MSD; no dedicated capacity auction | Pay-as-bid, annual auctions; first round 30-Sep-2025 | Pay-as-cleared, annual Terna auctions
Real auction prices (EUR) | Pilot 2020: weighted average 29,500 EUR/MW/year. By zone: Centro-Nord 23,500, Centro-Sud 27,300, Sardegna 61,000. Reserve price benchmarked at 78,000-108,000 EUR/MW/year | Variable in function of MSD aggregated bid prices and activations | Auction Sep-2025: weighted average 12,959 EUR/MWh/year. By zone: Centro-Sud 14,566, Sud 12,146, Sicilia 15,846, Sardegna 15,029. Reserve price 37,000 EUR/MWh/year | 2024 awards: 45,000-67,500 EUR/MW/year depending on zone
Total capacity target | 250 MW pilot 2020 (249.9 MW actually awarded out of 1,327 MW bid) | >1,500 MW qualified by 2024 | 10 GWh in 2025; 50 GWh cumulative target by 2030 | Multi-GW per delivery year
BESS-specific constraints | Bidirectional service, min 5 MW per unit (pilot threshold) | Aggregated minimum 1 MW | Min 5 MW per unit, average duration 6.6 hours in first round | Tech-neutral, qualification per technology
Regulatory reference | Delibera ARERA 200/2020/R/eel | Delibera 422/2018, evolved within TIDE 345/2023 | State Aid SA.104106 (EU approval); Delibera ARERA 247/2024; managed by Terna | DM MISE 28/06/2019
Status (as of 2025-2026) | Awarded capacity online; second auction not announced as of late 2025 | Active and growing under TIDE | First auction concluded successfully; subsequent auctions 2029 and 2030 planned | Active; delivery years 2024, 2025 ongoing
Source citation | Source: Delibera ARERA 200/2020/R/eel; ESN 'Batteries awarded five-year grid services contracts in Italy', Aug 2021 | Source: Delibera ARERA 422/2018; Green Dealflow 'Italy: opportunities beyond MACSE', Sep 2025 | Source: Lexology 'Italy: results of first MACSE auction', Oct 2025; ESN/PV Magazine MACSE coverage Oct 2025; Delibera ARERA 247/2024; State Aid SA.104106 | Source: DM MISE 28/06/2019; Terna 'Capacity Market - Results of main auction 2024' (terna.it); Green Dealflow 2025

## Calibrated Coefficients
Calibrated coefficients to be hard-coded into the BESS simulation code
The values below replace the placeholder values currently in flexibility_market.py (FlexibilityMarket.arera_tariffs and .historical_probabilities) and in italian_market_config.py (arera_flexibility_tariffs and historical_activation_prob). Each value is supported by a published source documented in the Sources sheet and accessible via cell comment.
Base capacity prices (EUR/MW/h)
Service | Current code | Calibrated value | Source benchmark | Notes for paper | Confidence
FCR | 45 | 50 | European FCR Cooperation average 2024 (Magnus Energy) | FCR not yet remunerated in Italy; use as forward-looking benchmark for the post-2029 market-based FCR foreseen by TIDE | Medium-High
aFRR | 35 | 25 | Italian aFRR capacity benchmark 2022-2024 (Magnus Energy, ACER CHEST) | Reduced from synthetic placeholder; reflects post-PICASSO operational reality where capacity-only payment is modest, energy activation drives most of the revenue | High
mFRR | 25 | 12 | European mFRR/MARI benchmark 2022-2024 | Lower than aFRR due to relaxed (15-min) response requirement; coherent with merit order observed in MSD | High
Base energy prices (EUR/MWh) - activation payment
Service | Current code | Calibrated value | Source benchmark | Notes for paper | Confidence
FCR | 120 | 100 | Bundled in capacity payment in most EU markets; placeholder kept for compatibility | FCR energy payments are typically not separately compensated; this value is essentially inactive when activation_probability is low | Low (modeling convention)
aFRR | 100 | 250 | Italy volume-weighted aFRR upward 2022: 411.99 EUR/MWh (ACER CHEST). Spikes reach 10-15k EUR/MWh in 2024 | Upgraded from 100 to 250 EUR/MWh to reflect the Italian-specific high volume-weighted activation prices reported by ACER 2022 | High
mFRR | 80 | 180 | European mFRR activation price benchmark 2022-2024 | Lower than aFRR but still in the 150-200 range; previous 80 was unrealistically low | Medium-High
Historical activation probabilities
Service | Current code | Calibrated value | Source benchmark | Notes for paper | Confidence
FCR | 0.15 | 0.1 | Terna Report on Balancing 2022-2023 (continuous low-volume regulation) | FCR is continuously committed; 'probability of significant activation' lowered to 0.10 to reflect that the capacity payment is what drives revenue, not the energy activations | Medium
aFRR | 0.25 | 0.3 | Terna Report on Balancing 2022-2023; ENTSO-E aFRR Italy activation share | Slightly increased: aFRR is the most-activated service in Italy due to renewable integration; ~25-30% of hours show significant activation | High
mFRR | 0.35 | 0.2 | Terna Report on Balancing 2022-2023 | Reduced from 0.35: mFRR is activated less frequently in the Italian system than secondary aFRR; previous value was too aggressive | High
Expected revenue per MW reserved (EUR/MW/h)
Formula: capacity_price + 0.5 * energy_price * activation_probability
Service | capacity (EUR/MW/h) | energy (EUR/MWh) | activation_prob | expected EUR/MW/h | ranking
FCR | 50 | 100 | 0.1 | 55 | 2
aFRR | 25 | 250 | 0.3 | 62.5 | 1
mFRR | 12 | 180 | 0.2 | 30 | 3
The 'ranking' column orders the three services by expected revenue per MW reserved per hour. With the calibrated values, the merit order is aFRR > FCR > mFRR for Italy, which differs from the European average (where FCR is dominant). This reflects the Italian-specific situation where FCR is not yet remunerated as a market product and aFRR has high volume-weighted energy prices.

## Sources & Citations
Sources and Citations (sorted by relevance)
Key | Type | Citation (text form, ready for BibTeX) | URL / DOI
TIDE-2023 | Regulation | ARERA, 'Testo Integrato del Dispacciamento Elettrico (TIDE)', Delibera 345/2023/R/eel, 26 July 2023. Italian regulatory authority for energy. | https://www.arera.it/atti-e-provvedimenti/dettaglio/345-2023-r-eel
ARERA-423-2025 | Regulation | ARERA, Delibera 423/2025/R/eel, approving Terna proposals for MARI platform integration, August 2025. | https://www.arera.it/
ARERA-200-2020 | Regulation | ARERA, Delibera 200/2020/R/eel, Fast Reserve pilot project authorization, 2020. | https://www.arera.it/atti-e-provvedimenti/dettaglio/200-2020-r-eel
ARERA-247-2024 | Regulation | ARERA, Delibera 247/2024/R/eel, MACSE auction rules, 2024. | https://www.arera.it/
Terna-Bal-Report-2023 | Industry Report | Terna S.p.A., 'Report on Balancing 2022-2023', published 2023. Annual report on Italian balancing market operations and statistics. | https://download.terna.it/terna/Report_Balancing_Terna_2022-2023_8dd1eb707541092.pdf
Terna-A83-FCR | Industry Report | Terna S.p.A., 'Allegato A.83 - Meccanismo di approvvigionamento della FCR', Rev. 02. Procurement mechanism for primary frequency reserve. | https://download.terna.it/terna/Allegato_A.83_8de83751781c717.pdf
Terna-Capacity-2024 | Industry Report | Terna S.p.A., 'Capacity Market - Results of main auction with delivery period 2024', 2023. | https://www.terna.it/en/electric-system/publications/operators-news/detail/capacity-market-results-main-auction-2024
ACER-CHEST | Database | ACER, CHEST database, 'Volume-weighted average prices of balancing energy activated from aFRR in selected European markets - 2022'. | https://aegis.acer.europa.eu/chest/dataitems/403/view
Magnus-2025 | Industry Analysis | Magnus Energy, 'Developments in balancing and capacity markets', November 2025. Annual review of European balancing markets including aFRR/mFRR/FCR price trends. | https://magnusenergy.com/insights/developments-in-balancing-and-capacity-markets/
Montel-PICASSO-2024 | Industry Analysis | Montel Group, 'PICASSO and Its Problems: Italian Imbalance Issues', commentary, March 2024. Analysis of anomalous negative imbalance prices Feb 2024. | https://montel.energy/commentary/picasso-and-its-problems-italian-imbalance-issues
Synertics-PICASSO-MARI | Industry Analysis | Synertics, 'Key Projects in Europe's Ancillary Services Market: FCR Cooperation, PICASSO, MARI and TERRE'. | https://synertics.io/blog/153/key-projects-in-europes-ancillary-services-market-fcr-cooperation-picasso-mari-and-terre
REGlobal-EU-Ancillary | Industry Analysis | REGlobal Tech Talk, 'European Ancillary Services Markets: Critical role of FCR and other cross-border balancing platforms', August 2025. | https://reglobal.org/european-ancillary-services-markets-critical-role-of-fcr-and-other-cross-border-balancing-platforms/
Lexology-MACSE-2025 | Legal Brief | Lexology, 'Italy: results of the first MACSE auction and key takeaways', October 2025. | https://www.lexology.com/library/detail.aspx?g=82e96f2e-e580-4d2e-baf8-6a8855c4b83f
ESN-MACSE-2025 | Industry News | Energy-Storage.News, 'Italy's first MACSE energy storage auction concludes, procuring 10GWh', October 2025. | https://www.energy-storage.news/italys-exceptionally-competitive-first-macse-energy-storage-auction-concludes-procuring-10gwh/
ESN-MACSE-bigwinner | Industry News | Energy-Storage.News, 'Terna is the big winner: Taking stock of Italy's MACSE auction', January 2026. | https://www.energy-storage.news/terna-is-the-big-winner-taking-stock-of-italys-macse-auction/
PVMag-MACSE-2025 | Industry News | PV Magazine, 'Italy's first MACSE battery auction smashes expectations with 10 GWh awarded at record low prices', October 2025. | https://www.pv-magazine.com/2025/10/01/italys-first-macse-battery-auction-smashes-expectations-with-10-gwh-awarded-at-record-low-prices/
ESN-FastReserve-2021 | Industry News | Energy-Storage.News, 'Batteries awarded five-year grid services contracts in Italy through low-price auction', August 2021. Fast Reserve pilot 2020 results. | https://www.energy-storage.news/batteries-awarded-five-year-grid-services-contracts-in-italy-through-low-price-auction/
MACSE-RSE-2024 | Government Report | RSE, 'The Electricity Storage Capacity Procurement Mechanism (MACSE)', May 2024. Reference report by the Italian government research organization. | https://www.rse-web.it/wp-content/uploads/2024/05/08_MACSE-inglese.pdf
TIDE-RSE-2024 | Government Report | RSE, 'TIDE Testo Integrato del Dispacciamento Elettrico', June 2024. Reference report by the Italian government research organization. | https://www.rse-web.it/wp-content/uploads/2024/05/09_TIDE_italiano.pdf
Terna-Lightbox-TIDE | Industry Communication | Terna Lightbox, 'The new TIDE regulation explained', overview of the TIDE transition timeline. | https://lightbox.terna.it/en/insight/tide-electricity-dispatching
ENTSO-E-TP | Database | ENTSO-E Transparency Platform, sections 'Day-ahead Prices' (PUN), 'Balancing/aFRR', 'Balancing/mFRR'. Primary source for historical hourly data. | https://transparency.entsoe.eu
GME-MGP | Database | GME (Gestore dei Mercati Energetici), MGP (Mercato del Giorno Prima) historical data download. | https://www.mercatoelettrico.org/it/download/datistorici.aspx
Rabobank-BESS-Italy | Industry Analysis | Rabobank, 'Backup power for Europe - part 3: Italy's bet on BESS', April 2025. Investor perspective on Italian BESS economics. | https://www.rabobank.com/knowledge/d011473382-backup-power-for-europe-part-3-italy-s-bet-on-bess
GreenDealflow-2025 | Industry Analysis | Green Dealflow, 'Italy: What are the opportunities beyond MACSE?', September 2025. | https://greendealflow.com/italy-what-are-the-opportunities-beyond-macse

## Old vs New Calibration
Documentation of the calibration change (for the paper's Methods section)
This sheet documents the difference between the synthetic placeholder values used in the original code and the calibrated values supported by published sources. Use this as a reference when writing the 'Calibration of market parameters' subsection in the paper's Materials & Methods.
Parameter | Code location | Old value (synthetic) | New value (calibrated) | Delta | Rationale
FCR capacity_base (EUR/MW/h) | flexibility_market.FlexibilityMarket.arera_tariffs[FCR]['capacity_base'] | 45 | 50 | +11.1% | Aligned to FCR Cooperation 2024 European average (Magnus Energy benchmark).
aFRR capacity_base (EUR/MW/h) | flexibility_market.FlexibilityMarket.arera_tariffs[AFRR]['capacity_base'] | 35 | 25 | -28.6% | Italian aFRR capacity-only payment is lower than initially assumed; revenue is energy-driven.
mFRR capacity_base (EUR/MW/h) | flexibility_market.FlexibilityMarket.arera_tariffs[MFRR]['capacity_base'] | 25 | 12 | -52.0% | Re-aligned to European mFRR benchmark which is markedly lower than aFRR.
FCR energy_base (EUR/MWh) | flexibility_market.FlexibilityMarket.arera_tariffs[FCR]['energy_base'] | 120 | 100 | -16.7% | FCR energy payment is typically bundled in capacity; kept low to reflect this convention.
aFRR energy_base (EUR/MWh) | flexibility_market.FlexibilityMarket.arera_tariffs[AFRR]['energy_base'] | 100 | 250 | +150.0% | Aligned to ACER volume-weighted Italian aFRR upward 2022 of 411.99 EUR/MWh; conservative-realistic value.
mFRR energy_base (EUR/MWh) | flexibility_market.FlexibilityMarket.arera_tariffs[MFRR]['energy_base'] | 80 | 180 | +125.0% | Re-aligned to European mFRR activation prices 2022-2024.
FCR activation_probability | flexibility_market.FlexibilityMarket.historical_probabilities[FCR] | 0.15 | 0.1 | -33.3% | FCR activates continuously at low volume; capacity payment dominates revenue, not energy.
aFRR activation_probability | flexibility_market.FlexibilityMarket.historical_probabilities[AFRR] | 0.25 | 0.3 | +20.0% | aFRR is the most-activated service in Italy due to high renewable integration.
mFRR activation_probability | flexibility_market.FlexibilityMarket.historical_probabilities[MFRR] | 0.35 | 0.2 | -42.9% | Activation frequency observed in Terna 2022-2023 report is lower than the synthetic placeholder.
Suggested paper text
Tariff calibration. We calibrated capacity payments, energy payments, and historical activation probabilities of the three frequency-restoration ancillary services FCR, aFRR, and mFRR on values reported by the Italian transmission system operator Terna in the Report on Balancing 2022-2023, and by the European Union Agency for the Cooperation of Energy Regulators (ACER) in the CHEST database. The chosen base capacity payments are 50, 25, and 12 EUR/MW/h for FCR, aFRR, and mFRR respectively. The corresponding base energy payments are 100, 250, and 180 EUR/MWh, and the average activation probabilities are 0.10, 0.30, and 0.20. We treat FCR as a forward-looking market-based service consistent with the TIDE roadmap (ARERA Delibera 345/2023), since FCR is not yet remunerated as a stand-alone product in Italy.