## Cover
Italian Electricity Ancillary-Services Markets Reference Workbook for the BESS PPO vs MILP Benchmark Study
Author | Lorenzo Giannuzzo
Affiliation | Energy Center Lab, DENERG, Politecnico di Torino
Supervisor | Prof. Andrea Lanzini
Build date | 2026-05-22
Version | 1.0
Purpose | Calibrate the BESS PPO vs MILP comparison code (flexibility_market.py, italian_market_config.py) on values supported by published 2024-2025 sources, and provide a citable reference table for the paper's Materials & Methods.
Scope | Italian electricity market under the TIDE regulatory framework (ARERA 345/2023), in transition between 2025-01-01 and 2026-02-01.
Disclaimer | Prices and probabilities reflect benchmarks observed in 2022-2024. Italian PICASSO participation was suspended March 2024 after anomalous price events; values labeled 'pre-suspension' refer to Jul-2023 to Feb-2024. Use ENTSO-E TP and Terna Download Center for run-specific historical series.
Sheet index
Sheet | Content
Cover | This page
European Markets | FCR / aFRR / mFRR full specification (tech, prices, platforms, sources)
Italian-Specific | Fast Reserve, UVAM, MACSE, Capacity Market
Calibrated Coefficients | Values to be hard-coded into flexibility_market.py and italian_market_config.py
Sources & Citations | Bibliography with URLs, ready to be exported to BibTeX
Old vs New Calibration | Documentation of the change from synthetic to calibrated values

## European Markets
Harmonized European Ancillary Services - Italian Implementation
Characteristic | FCR | aFRR | mFRR
Function | Primary reserve: immediate containment of frequency deviation | Secondary reserve: restoration of frequency to nominal 50 Hz | Tertiary reserve: replaces aFRR in extended activations
Activation time | Full activation within 30 seconds | Full activation within 5 minutes (target reduced to 5 min under PICASSO by Dec 2024) | Full activation within 12.5 minutes (15 min under MARI)
Direction | Symmetric (both up and down) | Separately bid up and down | Separately bid up and down
Service duration | Continuous during activation events | Continuous until mFRR takes over | Until Replacement Reserve (RR) or balancing market takes over
European platform | FCR Cooperation (no centralized clearing for Italy yet) | PICASSO (Italy joined 19-Jul-2023, suspended Mar-2024, reintegration ongoing under ACER 2024 decisions) | MARI (Italy connection approved by Delibera ARERA 423/2025)
Auction mechanism | Italy: historically mandatory and non-remunerated for conventional units >=10 MW; market-based FCR planned via TIDE roadmap, full implementation by 2029 | Pay-as-cleared (EUR/MWh), 15-min resolution, separate up/down merit orders | Pay-as-cleared (EUR/MWh), 15-min resolution, separate up/down merit orders
Minimum bid capacity (MW) | 1.0 | 1.0 (aggregable via UVAM down to smaller units) | 1.0 (aggregable via UVAM down to smaller units)
Capacity payment (EUR/MW/h) | ~50 (European FCR Cooperation average 2024); Italy TBD post-TIDE | ~25 (Italian benchmark 2022-2024 pre/post PICASSO) | ~12 (Italian benchmark; lower than aFRR due to relaxed response requirement)
Energy payment (EUR/MWh) - activation | Generally bundled in capacity remuneration (no separate activation payment) | Volume-weighted 2022 Italy upward: 411.99 EUR/MWh; downward similar; spikes 10-15k EUR/MWh in 2024 | Range similar to aFRR but lower volatility; benchmark ~150-200 EUR/MWh
Typical activation probability | Continuous low-volume; significant activation ~10-15% of hours | ~25-30% of hours show significant aFRR activation | ~15-20% of hours show significant mFRR activation
Pricing rule | Pay-as-cleared in FCR Cooperation; Italy in transition | Pay-as-cleared (PICASSO) | Pay-as-cleared (MARI)
Settlement period | Continuous (hourly capacity) | 15 minutes (post-TIDE) | 15 minutes (MARI)
Notable issues | Italian market-based FCR not yet operational; transition obligations under Codice di Trasmissione | Anomalous negative imbalance prices Feb 2024 (peak -8,952.7 EUR/MWh on 04-Feb-2024) caused suspension; ACER decision Jul 2024 modified activation function and price limits | Italy still using domestic MB platform pending MARI integration
Historical data source | Terna 'Report on Balancing' annual reports; ENTSO-E TP | ENTSO-E Transparency Platform, section 'Balancing/aFRR'; Terna Download Center MSD ex-ante/ex-post | ENTSO-E TP; Terna Download Center
Regulatory reference | TIDE (Delibera ARERA 345/2023/R/eel); Codice di Trasmissione | TIDE; Delibera ARERA 423/2025 for MARI/PICASSO integration | TIDE; Delibera ARERA 423/2025
Hover any value cell to see its specific source citation in a comment. All capacity/energy prices are benchmarks; for paper submission, replace with ENTSO-E TP or Terna historical series for the chosen reference year.
Note on B5: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on C5: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on D5: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on B8: Source: ENTSO-E PICASSO project documentation; Synertics 2024 review
Note on C8: Source: ENTSO-E PICASSO project documentation; Synertics 2024 review
Note on D8: Source: ENTSO-E PICASSO project documentation; Synertics 2024 review
Note on B9: Source: Terna 'Allegato A.83 - Meccanismo di approvvigionamento FCR', download.terna.it
Note on C9: Source: Terna 'Allegato A.83 - Meccanismo di approvvigionamento FCR', download.terna.it
Note on D9: Source: Terna 'Allegato A.83 - Meccanismo di approvvigionamento FCR', download.terna.it
Note on B10: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on C10: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on D10: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on B11: Source: Magnus Energy 'Developments in balancing and capacity markets', Nov 2025
Note on C11: Source: Magnus Energy 'Developments in balancing and capacity markets', Nov 2025
Note on D11: Source: Magnus Energy 'Developments in balancing and capacity markets', Nov 2025
Note on B12: Source: ACER CHEST database, volume-weighted aFRR prices 2022
Note on C12: Source: ACER CHEST database, volume-weighted aFRR prices 2022
Note on D12: Source: ACER CHEST database, volume-weighted aFRR prices 2022
Note on B13: Source: Terna 'Report on Balancing 2022-2023', download.terna.it
Note on C13: Source: Terna 'Report on Balancing 2022-2023', download.terna.it
Note on D13: Source: Terna 'Report on Balancing 2022-2023', download.terna.it
Note on B14: Source: ENTSO-E PICASSO project documentation; Synertics 2024 review
Note on C14: Source: ENTSO-E PICASSO project documentation; Synertics 2024 review
Note on D14: Source: ENTSO-E PICASSO project documentation; Synertics 2024 review
Note on B15: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on C15: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on D15: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on B16: Source: Montel 'PICASSO and Its Problems: Italian Imbalance Issues', Mar 2024
Note on C16: Source: Montel 'PICASSO and Its Problems: Italian Imbalance Issues', Mar 2024
Note on D16: Source: Montel 'PICASSO and Its Problems: Italian Imbalance Issues', Mar 2024
Note on B18: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on C18: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023
Note on D18: Source: ARERA TIDE, Delibera 345/2023/R/eel, 26 July 2023

## Italian-Specific
Italian-Specific BESS Remuneration Mechanisms (not covered by EU harmonization)
Characteristic | Fast Reserve | UVAM | MACSE | Capacity Market
Service object | Sub-FCR ultra-fast frequency response (FFR) for synthetic inertia | Aggregation of distributed mixed assets (generation, consumption, storage) bidding into MSD | Dedicated electrical storage capacity, BESS and pumped hydro, for renewable load-shifting and ancillary services | Generation/storage capacity guaranteed to be available during system stress events
Response time | < 1 second (Fast Frequency Response) | Depends on underlying service (aFRR, mFRR) | Hourly time-shifting via MGP; capacity contractually available | N/A (capacity-only product; activation via MSD/MB in stress events)
Contract duration | 5 years (2020 pilot auction) | Annual, renewable | 15 years | 15 years (start ~2024, multiple delivery years)
Auction mechanism | Pay-as-bid, single competitive auction Terna 2020 | Continuous qualification, participation via MSD; no dedicated capacity auction | Pay-as-bid, annual auctions; first round 30-Sep-2025 | Pay-as-cleared, annual Terna auctions
Real auction prices (EUR) | Pilot 2020: weighted average 29,500 EUR/MW/year. By zone: Centro-Nord 23,500, Centro-Sud 27,300, Sardegna 61,000. Reserve price benchmarked at 78,000-108,000 EUR/MW/year | Variable in function of MSD aggregated bid prices and activations | Auction Sep-2025: weighted average 12,959 EUR/MWh/year. By zone: Centro-Sud 14,566, Sud 12,146, Sicilia 15,846, Sardegna 15,029. Reserve price 37,000 EUR/MWh/year | 2024 awards: 45,000-67,500 EUR/MW/year depending on zone
Total capacity target | 250 MW pilot 2020 (249.9 MW actually awarded out of 1,327 MW bid) | >1,500 MW qualified by 2024 | 10 GWh in 2025; 50 GWh cumulative target by 2030 | Multi-GW per delivery year
BESS-specific constraints | Bidirectional service, min 5 MW per unit (pilot threshold) | Aggregated minimum 1 MW | Min 5 MW per unit, average duration 6.6 hours in first round | Tech-neutral, qualification per technology
Regulatory reference | Delibera ARERA 200/2020/R/eel | Delibera 422/2018, evolved within TIDE 345/2023 | State Aid SA.104106 (EU approval); Delibera ARERA 247/2024; managed by Terna | DM MISE 28/06/2019
Status (as of 2025-2026) | Awarded capacity online; second auction not announced as of late 2025 | Active and growing under TIDE | First auction concluded successfully; subsequent auctions 2029 and 2030 planned | Active; delivery years 2024, 2025 ongoing
Source citation | Source: Delibera ARERA 200/2020/R/eel; ESN 'Batteries awarded five-year grid services contracts in Italy', Aug 2021 | Source: Delibera ARERA 422/2018; Green Dealflow 'Italy: opportunities beyond MACSE', Sep 2025 | Source: Lexology 'Italy: results of first MACSE auction', Oct 2025; ESN/PV Magazine MACSE coverage Oct 2025; Delibera ARERA 247/2024; State Aid SA.104106 | Source: DM MISE 28/06/2019; Terna 'Capacity Market - Results of main auction 2024' (terna.it); Green Dealflow 2025

## Calibrated Coefficients
Calibrated coefficients to be hard-coded into the BESS simulation code
The values below replace the placeholder values currently in flexibility_market.py (FlexibilityMarket.arera_tariffs and .historical_probabilities) and in italian_market_config.py (arera_flexibility_tariffs and historical_activation_prob). Each value is supported by a published source documented in the Sources sheet and accessible via cell comment.
Base capacity prices (EUR/MW/h)
Service | Current code | Calibrated value | Source benchmark | Notes for paper | Confidence
FCR | 45 | 50 | European FCR Cooperation average 2024 (Magnus Energy) | FCR not yet remunerated in Italy; use as forward-looking benchmark for the post-2029 market-based FCR foreseen by TIDE | Medium-High
aFRR | 35 | 25 | Italian aFRR capacity benchmark 2022-2024 (Magnus Energy, ACER CHEST) | Reduced from synthetic placeholder; reflects post-PICASSO operational reality where capacity-only payment is modest, energy activation drives most of the revenue | High
mFRR | 25 | 12 | European mFRR/MARI benchmark 2022-2024 | Lower than aFRR due to relaxed (15-min) response requirement; coherent with merit order observed in MSD | High
Base energy prices (EUR/MWh) - activation payment
Service | Current code | Calibrated value | Source benchmark | Notes for paper | Confidence
FCR | 120 | 100 | Bundled in capacity payment in most EU markets; placeholder kept for compatibility | FCR energy payments are typically not separately compensated; this value is essentially inactive when activation_probability is low | Low (modeling convention)
aFRR | 100 | 250 | Italy volume-weighted aFRR upward 2022: 411.99 EUR/MWh (ACER CHEST). Spikes reach 10-15k EUR/MWh in 2024 | Upgraded from 100 to 250 EUR/MWh to reflect the Italian-specific high volume-weighted activation prices reported by ACER 2022 | High
mFRR | 80 | 180 | European mFRR activation price benchmark 2022-2024 | Lower than aFRR but still in the 150-200 range; previous 80 was unrealistically low | Medium-High
Historical activation probabilities
Service | Current code | Calibrated value | Source benchmark | Notes for paper | Confidence
FCR | 0.15 | 0.1 | Terna Report on Balancing 2022-2023 (continuous low-volume regulation) | FCR is continuously committed; 'probability of significant activation' lowered to 0.10 to reflect that the capacity payment is what drives revenue, not the energy activations | Medium
aFRR | 0.25 | 0.3 | Terna Report on Balancing 2022-2023; ENTSO-E aFRR Italy activation share | Slightly increased: aFRR is the most-activated service in Italy due to renewable integration; ~25-30% of hours show significant activation | High
mFRR | 0.35 | 0.2 | Terna Report on Balancing 2022-2023 | Reduced from 0.35: mFRR is activated less frequently in the Italian system than secondary aFRR; previous value was too aggressive | High
Expected revenue per MW reserved (EUR/MW/h)
Formula: capacity_price + 0.5 * energy_price * activation_probability
Service | capacity (EUR/MW/h) | energy (EUR/MWh) | activation_prob | expected EUR/MW/h | ranking
FCR | 50 | 100 | 0.1 | 55 | 2
aFRR | 25 | 250 | 0.3 | 62.5 | 1
mFRR | 12 | 180 | 0.2 | 30 | 3
The 'ranking' column orders the three services by expected revenue per MW reserved per hour. With the calibrated values, the merit order is aFRR > FCR > mFRR for Italy, which differs from the European average (where FCR is dominant). This reflects the Italian-specific situation where FCR is not yet remunerated as a market product and aFRR has high volume-weighted energy prices.

## Sources & Citations
Sources and Citations (sorted by relevance)
Key | Type | Citation (text form, ready for BibTeX) | URL / DOI
TIDE-2023 | Regulation | ARERA, 'Testo Integrato del Dispacciamento Elettrico (TIDE)', Delibera 345/2023/R/eel, 26 July 2023. Italian regulatory authority for energy. | https://www.arera.it/atti-e-provvedimenti/dettaglio/345-2023-r-eel
ARERA-423-2025 | Regulation | ARERA, Delibera 423/2025/R/eel, approving Terna proposals for MARI platform integration, August 2025. | https://www.arera.it/
ARERA-200-2020 | Regulation | ARERA, Delibera 200/2020/R/eel, Fast Reserve pilot project authorization, 2020. | https://www.arera.it/atti-e-provvedimenti/dettaglio/200-2020-r-eel
ARERA-247-2024 | Regulation | ARERA, Delibera 247/2024/R/eel, MACSE auction rules, 2024. | https://www.arera.it/
Terna-Bal-Report-2023 | Industry Report | Terna S.p.A., 'Report on Balancing 2022-2023', published 2023. Annual report on Italian balancing market operations and statistics. | https://download.terna.it/terna/Report_Balancing_Terna_2022-2023_8dd1eb707541092.pdf
Terna-A83-FCR | Industry Report | Terna S.p.A., 'Allegato A.83 - Meccanismo di approvvigionamento della FCR', Rev. 02. Procurement mechanism for primary frequency reserve. | https://download.terna.it/terna/Allegato_A.83_8de83751781c717.pdf
Terna-Capacity-2024 | Industry Report | Terna S.p.A., 'Capacity Market - Results of main auction with delivery period 2024', 2023. | https://www.terna.it/en/electric-system/publications/operators-news/detail/capacity-market-results-main-auction-2024
ACER-CHEST | Database | ACER, CHEST database, 'Volume-weighted average prices of balancing energy activated from aFRR in selected European markets - 2022'. | https://aegis.acer.europa.eu/chest/dataitems/403/view
Magnus-2025 | Industry Analysis | Magnus Energy, 'Developments in balancing and capacity markets', November 2025. Annual review of European balancing markets including aFRR/mFRR/FCR price trends. | https://magnusenergy.com/insights/developments-in-balancing-and-capacity-markets/
Montel-PICASSO-2024 | Industry Analysis | Montel Group, 'PICASSO and Its Problems: Italian Imbalance Issues', commentary, March 2024. Analysis of anomalous negative imbalance prices Feb 2024. | https://montel.energy/commentary/picasso-and-its-problems-italian-imbalance-issues
Synertics-PICASSO-MARI | Industry Analysis | Synertics, 'Key Projects in Europe's Ancillary Services Market: FCR Cooperation, PICASSO, MARI and TERRE'. | https://synertics.io/blog/153/key-projects-in-europes-ancillary-services-market-fcr-cooperation-picasso-mari-and-terre
REGlobal-EU-Ancillary | Industry Analysis | REGlobal Tech Talk, 'European Ancillary Services Markets: Critical role of FCR and other cross-border balancing platforms', August 2025. | https://reglobal.org/european-ancillary-services-markets-critical-role-of-fcr-and-other-cross-border-balancing-platforms/
Lexology-MACSE-2025 | Legal Brief | Lexology, 'Italy: results of the first MACSE auction and key takeaways', October 2025. | https://www.lexology.com/library/detail.aspx?g=82e96f2e-e580-4d2e-baf8-6a8855c4b83f
ESN-MACSE-2025 | Industry News | Energy-Storage.News, 'Italy's first MACSE energy storage auction concludes, procuring 10GWh', October 2025. | https://www.energy-storage.news/italys-exceptionally-competitive-first-macse-energy-storage-auction-concludes-procuring-10gwh/
ESN-MACSE-bigwinner | Industry News | Energy-Storage.News, 'Terna is the big winner: Taking stock of Italy's MACSE auction', January 2026. | https://www.energy-storage.news/terna-is-the-big-winner-taking-stock-of-italys-macse-auction/
PVMag-MACSE-2025 | Industry News | PV Magazine, 'Italy's first MACSE battery auction smashes expectations with 10 GWh awarded at record low prices', October 2025. | https://www.pv-magazine.com/2025/10/01/italys-first-macse-battery-auction-smashes-expectations-with-10-gwh-awarded-at-record-low-prices/
ESN-FastReserve-2021 | Industry News | Energy-Storage.News, 'Batteries awarded five-year grid services contracts in Italy through low-price auction', August 2021. Fast Reserve pilot 2020 results. | https://www.energy-storage.news/batteries-awarded-five-year-grid-services-contracts-in-italy-through-low-price-auction/
MACSE-RSE-2024 | Government Report | RSE, 'The Electricity Storage Capacity Procurement Mechanism (MACSE)', May 2024. Reference report by the Italian government research organization. | https://www.rse-web.it/wp-content/uploads/2024/05/08_MACSE-inglese.pdf
TIDE-RSE-2024 | Government Report | RSE, 'TIDE Testo Integrato del Dispacciamento Elettrico', June 2024. Reference report by the Italian government research organization. | https://www.rse-web.it/wp-content/uploads/2024/05/09_TIDE_italiano.pdf
Terna-Lightbox-TIDE | Industry Communication | Terna Lightbox, 'The new TIDE regulation explained', overview of the TIDE transition timeline. | https://lightbox.terna.it/en/insight/tide-electricity-dispatching
ENTSO-E-TP | Database | ENTSO-E Transparency Platform, sections 'Day-ahead Prices' (PUN), 'Balancing/aFRR', 'Balancing/mFRR'. Primary source for historical hourly data. | https://transparency.entsoe.eu
GME-MGP | Database | GME (Gestore dei Mercati Energetici), MGP (Mercato del Giorno Prima) historical data download. | https://www.mercatoelettrico.org/it/download/datistorici.aspx
Rabobank-BESS-Italy | Industry Analysis | Rabobank, 'Backup power for Europe - part 3: Italy's bet on BESS', April 2025. Investor perspective on Italian BESS economics. | https://www.rabobank.com/knowledge/d011473382-backup-power-for-europe-part-3-italy-s-bet-on-bess
GreenDealflow-2025 | Industry Analysis | Green Dealflow, 'Italy: What are the opportunities beyond MACSE?', September 2025. | https://greendealflow.com/italy-what-are-the-opportunities-beyond-macse